## Sheet1
Sample Data
Sample ID | pH meter |  | Reporting Format: |  | xx.xx @ 25°C
| Units | None | Temperature | °C |  | Here we apply a correction factor to standardize around a set temparature
TST1512A001 |  | 6.53 |  | 18.6
TST1512A002 |  | 5.66 |  | 19.1
TST1512A003 |  | 12.53 |  | 8.7
TST1512A004 |  | 0.53 |  | 23.6
Sample ID | Conductivity Meter |  | Reporting Format: |  | xx.xx unit @ xx.x °C
| Units | µS/cm | Temperature | °C
mS/cm
S/cm
Ω·m
TST1512A001 |  | 1413.56 | µS/cm | 18.6
TST1512A002 |  | 12.53 | mS/cm | 19.1
TST1512A003 |  | 0.668 | Ω·m | 8.7
TST1512A004 |  | 23.5 | S/cm | 23.6
Sample ID | Density Meter |  | Reporting Format: |  | xx.xx @ 15°C
| Units | g/cm3 | Temperature | °C |  | Here we apply a correction factor to standardize around a set temparature | The instrument also records in g/cm3, we do some conversions and math to convert density to specific gravity, specific gravity has no units associated with it
TST1512A001 |  | 0.9953 |  | 18.6
TST1512A002 |  | 0.9986 |  | 19.1
TST1512A003 |  | 0.9998 |  | 8.7
TST1512A004 |  | 1.0103 |  | 23.6
Sample ID | Refractive Index |  | Reporting Format: |  | x.xxxx nD @ 20°C
| Units | nD | Temperature | °C |  | Here we apply a correction factor to standardize around a set temparature
TST1512A001 |  | 1.335 |  | 18.6
TST1512A002 |  | 1.3346 |  | 19.1
TST1512A003 |  | 1.3265 |  | 8.7
TST1512A004 |  | 1.2986 |  | 23.6
Sample ID | DR6000 Spectrometer |  | Reporting Format: |  | x.xx mg/L
| Units | mg/L
TST1512A001 |  | 5
TST1512A002 |  | 5.63
TST1512A003 |  | 100.63
TST1512A004 |  | 0.28
Sample ID | Auto-Titrator |  | Reporting Format: |  | x.xxx unit
| Hardness Units | mg/L Ca2+ |  | Alkalinity Units | P-alkalinity (mg CaCO3/L)
|  | mg/L Mg2+ |  |  | T-alkalinity (mg CaCO3/L)
TST1512A001 |  | 2.004 | mg/L Ca2+ |  | 0 | P-alkalinity (mg CaCO3/L)
|  | 1.216 | mg/L Mg2+ |  | 5397.06 | T-alkalinity (mg CaCO3/L)
TST1512A002 |  | 123.658 | mg/L Ca2+ |  | 555.33 | P-alkalinity (mg CaCO3/L)
|  | 105.23 | mg/L Mg2+ |  | 2269.33 | T-alkalinity (mg CaCO3/L)
TST1512A003 |  | 100.63 | mg/L Ca2+ |  | 1.665 | P-alkalinity (mg CaCO3/L)
|  | 5.68 | mg/L Mg2+ |  | 5826.33 | T-alkalinity (mg CaCO3/L)
TST1512A004 |  | 0.28 | mg/L Ca2+ |  | 0 | P-alkalinity (mg CaCO3/L)
|  | 0 | mg/L Mg2+ |  | 5282.53 | T-alkalinity (mg CaCO3/L)
Sample ID | Turbidity |  | Reporting Format: |  | x.xx NTU
| Units | NTU
TST1512A001 |  | 5
TST1512A002 |  | 0.23
TST1512A003 |  | 100.86
TST1512A004 |  | 5.63
Sample ID | DR900 |  | Reporting Format: |  | x.xx mg/L
| Units | mg/L
TST1512A001 |  | 20.36
TST1512A002 |  | 100.96
TST1512A003 |  | 50.54
TST1512A004 |  | 5.63